## 46.0399
Unit/Standard Number | High School Graduation Years 2019, 2020 and 2021 | Proficiency Level Achieved: (X) Indicates Competency Achieved to Industry Proficiency Level
Electrical and Power Transmission Installers, Other CIP 46.0399 Task Grid
Secondary Competency Task List
100 | BASIC SAFETY
101 | Inspect and use personal protective equipment
102 | Identify causes of job site accidents.
103 | RESERVED
104 | RESERVED
105 | Properly don fall protection
106 | Identify four classes of fire extinguishers
107 | Confirm circuits are de-energized before working on them.
108 | Perform lockout/tagout.
109 | Inspect and use ladders
110 | Complete jobsite hazard analysis form
111 | Identify Arc-flash hazards and protection
200 | HAND TOOLS
201 | Use screwdrivers.
202 | Use pliers.
203 | Use keyhole/drywall saw.
204 | Use hydraulic knockout/punch tool.
205 | Use a tape measure.
206 | Use wire strippers.
207 | Use wire cutters.
208 | Use utility knife.
209 | Use torpedo level.
210 | Use a hammer.
211 | Use a conduit reamer.
212 | Use a hacksaw.
213 | Use a roto-split.
214 | Use adjustable or non adjustable wrenches.
215 | Use ratchet and sockets.
216 | Use nut drivers.
300 | POWER TOOLS
301 | RESERVED
302 | Use electric hammer drill.
303 | Use reciprocating saw.
304 | Use portable hand-held band saw.
305 | RESERVED
306 | Use a drill.
307 | RESERVED
308 | RESERVED
309 | RESERVED
310 | Use oscillating multi purpose tool.
311 | Use impact driver.
400 | BLUEPRINT READING
401 | Identify types of blueprint plans.
402 | Identify blueprint symbols.
403 | Interpret blueprint plans.
404 | RESERVED
405 | Develop electrical details on a residential blueprint.
406 | Use a measuring tool to scale.
500 | ANCHORS AND SUPPORTS
501 | Identify, select and install various types of anchors and supports.
600 | RESIDENTIAL CABLING TECHNOLOGY
601 | Install non-metallic (NM) Cable for connection to an electrical device.
602 | Install metal-clad cable (MC).
603 | RESERVED
604 | RESERVED
605 | Terminate a coaxial cable.
606 | RESERVED
607 | RESERVED
608 | RESERVED
609 | Identify telecommunications cable types.
610 | Terminate an RJ45 connector.
611 | Install SE cable.
700 | SWITCHES AND RECEPTACLES CIRCUITS
701 | Install a duplex receptacle.
702 | Install a single pole switch.
703 | Install a 3-way switch.
704 | Install a 4-way switch.
705 | Install a split-wired duplex receptacle.
706 | Install a Ground Fault Circuit Interrupter (GFCI) Receptacle.
707 | Install an Arc-Fault Circuit Interrupter (AFCI).
708 | Install a time control switch.
709 | Install a range receptacle.
710 | Install a dryer receptacle.
800 | FIXTURES
801 | Install surface-mounted lighting fixture.
802 | Install recessed lighting fixtures.
803 | Install a ceiling fan.
804 | Install LED lighting.
805 | Identify IC and non-IC recessed lighting fixtures.
900 | RACEWAYS
901 | Install Electrical Metallic Tubing (EMT).
902 | Install Poly-Vinyl Chloride conduit (PVC).
903 | Identify surface metal and non-metal raceways (Wiremold).
904 | Identify flexible raceway.
905 | RESERVED
906 | RESERVED
907 | RESERVED
908 | Bend a stub 90°.
909 | Bend an offset.
910 | Bend a back to back 90°. | .
911 | Cut, ream and deburr raceway systems.
912 | Install conductors in a raceway system.
1000 | WIRED DEVICES
1001 | Install a hard wired smoke detector.
1002 | Install door-bell system.
1003 | Trim out electrical devices.
1004 | Install an occupancy sensor.
1005 | Install a photocell.
1100 | TESTING EQUIPMENT
1101 | Use a multimeter.
1102 | Use a continuity tester.
1103 | Use a plug-in circuit tester.
1104 | Use a clamp-on ammeter.
1105 | RESERVED
1106 | Use a circuit tracer.
1107 | Use a network cable tester.
1108 | Apply Ohm's/Watt's Law calculations to electrical applications.
1200 | ELECTRICAL SERVICE
1201 | Install an overhead service.
1202 | Identify parts of an underground service.
1203 | RESERVED
1204 | RESERVED
1205 | RESERVED
1206 | RESERVED
1207 | RESERVED
1208 | RESERVED
1209 | Identify types of safety disconnect switches.
1210 | Terminate a service panel/load center.
1300 | NATIONAL ELECTRICAL CODE
1301 | Identify the purpose of the National Electrical Code (NEC).
1302 | Use Chapter 9 Tables.
1303 | Use the NEC as a reference to questions and competencies that students perform for all electrical installations.
1304 | Identify the publisher of the National Electrical Code (NEC).
1305 | Identify the code cycle of the National Electrical Code (NEC).
1306 | Identify NFPA70E (Arc Flash).
1400 | GREEN TECHNOLOGY
1401 | Identify renewable energy sources.
1402 | Identify procedures for installing a wind turbine system.
1403 | RESERVED
1404 | Identify procedures for installing a solar energy source system.
1405 | RESERVED
1406 | RESERVED
1407 | Evaluate the demand and consumption of electrical energy.