## 47.0201
Unit/Standard Number | High School Graduation Years 2019, 2020 and 2021 | Proficiency Level Achieved: (X) Indicates Competency Achieved to Industry Proficiency Level
Heating, Air Conditioning, Ventilation and Refrigeration Maintenance Technology/Technician CIP 47.0201 Task Grid
Secondary Competency Task List
100 | INTRODUCTION TO HVAC
101 | Identify HVAC systems.
102 | Describe career opportunities in the HVAC profession.
103 | Demonstrate awareness of the occupational requirements.
104 | RESERVED
105 | Use soft skills when interacting with customers.
200 | BASIC SAFETY
201 | RESERVED
202 | RESERVED
203 | Identify and demonstrate the use of personal protection equipment.
204 | Apply OSHA regulations to identify hazards and measures to prevent job site accidents from occurring.
205 | Set up and use stepladders, extension ladders, and scaffold.
300 | TOOLS FOR HVAC/R
301 | Use and maintain basic hand tools used in the trade.
302 | Use and maintain basic power tools used in the trade.
400 | BLUEPRINT READING
401 | Compare types of blueprint plans.
402 | Read and interpret blueprint plans.
500 | PIPING PRACTICES
501 | Identify piping materials.
502 | Select, measure, cut, ream, swage and flare piping and tubing projects.
503 | Cut, ream, thread and assemble steel piping projects and pressure test.
504 | Assemble non-metallic pipe and fittings and pressure test.
505 | Assemble copper tubing projects and pressure test according to trade standards.
506 | Solder copper tubing.
507 | Braze ACR tubing.
508 | Identify and use fittings and tools for steel pipe.
509 | RESERVED
510 | Assemble corrugated stainless steel gas tubing (CSST) projects.
511 | RESERVED
600 | BASIC ELECTRICITY
601 | Compare and analyze methods of producing electricity using appropriate terms.
602 | Calculate basic electrical quantities using Ohm's law.
603 | Explain how magnetism is used in different HVAC components.
604 | Implement safe electrical practices.
605 | Interpret and draw various types of electrical schematics and symbols.
606 | Apply proper wiring techniques.
607 | Perform electrical testing to include mechanical/electronic relays on energized and De-energized circuits.
608 | Wire series circuit, parallel circuit, and series/parallel circuit.
609 | Install and size electric disconnects, circuit breakers and fuses.
610 | Classify and test various types of capacitors.
611 | Identify electrical motors and their applications.
612 | Differentiate motor control protection and start devices.
613 | Apply electrical codes.
614 | Determine transformers and their applications.
615 | Size, apply, and ground electrical circuits and raceways.
700 | INTRODUCTION TO COOLING
701 | Measure temperature and pressure of a cooling system.
702 | Calculate superheat and subcooling.
703 | Locate and describe components of the basic refrigeration cycle.
704 | Evaluate refrigerants using temperature and pressure charts for various refrigerants.
705 | Analyze and test the operations of various compressors.
706 | Analyze and test the operations of various condensers.
707 | Analyze and test the operations of various evaporators.
708 | Analyze, test and adjust the operations of various metering devices.
709 | Identify secondary components used in the air conditioning and refrigeration industry.
710 | Evaluate effects of airflow on cooling system performance.
711 | Categorize and manipulate service valves.
800 | INTRODUCTION TO HEATING
801 | Describe the principles of combustion.
802 | Evaluate temperatures and pressures of various heating systems.
803 | Identify components and fuel properties of various heating systems.
804 | Perform maintenance on a gas furnace.
805 | RESERVED
806 | Identify oil heating equipment.
807 | Install and adjust oil, gas (condensing & non-condensing), and electric heating equipment.
808 | Perform annual preventive maintenance on oil fired equipment.
809 | RESERVED
810 | Identify and size electric heating equipment.
811 | Install heating/air conditioning thermostats.
812 | RESERVED
813 | Perform combustion analysis on oil and gas fired equipment.
814 | Identify the sequence of operations of various warm air furnaces.
900 | AIR DISTRIBUTION SYSTEMS
901 | Identify and design different types of duct systems.
902 | Identify and describe the different types of duct system components.
903 | Test velocity, static pressures, temperature, humidity, and volume in a duct system.
904 | RESERVED
905 | RESERVED
906 | Compare, identify and fabricate using various duct materials.
907 | Perform basic installation practices including duct sealing and leak testing.
908 | Identify and compare the application air distribution secondary accessories to increase air quality and comfort.
1000 | INTRODUCTION TO HYDRONIC SYSTEMS
1001 | Identify and compare various hot water heating system components, piping schemes, and their applications.
1002 | Service and maintain hydronic systems.
1100 | LEAK DETECTION, EVACUATION, RECOVERY AND CHARGING
1101 | Locate refrigerant leaks using common types of leak detectors.
1102 | Perform refrigerant recovery.
1103 | Perform system evacuation and dehydration.
1104 | Determine when to charge with liquid versus vapor.
1105 | Weigh in correct system charge (when appropriate).
1106 | Charge systems using superheat method when appropriate (e.g., fixed restriction).
1107 | Charge systems using subcooling method when appropriate (e.g., TXV, AXV).
1108 | Apply knowledge of EPA Section 608.
1109 | Identify pump down applications and perform system pump down operations.
1200 | TROUBLESHOOT HEATING
1201 | Perform gas burner flame proving tests according to trade standards.
1202 | Troubleshoot, and service gas heating equipment.
1203 | Troubleshoot oil fired equipment.
1300 | TROUBLESHOOT COOLING
1301 | Identify control system components.
1302 | Install, troubleshoot, and service cooling equipment.
1303 | Install electrical components.
1400 | HEAT PUMPS
1401 | Explain heat pump modes of operation.
1402 | Identify and describe heat pump components.
1403 | Install comfort cooling systems.
1500 | COMPUTER FUNDAMENTALS
1501 | RESERVED
1502 | Utilize the Internet for research.
1503 | Use HVAC computer software.